## Sheet1
|  | 蒸汽、电、成本等信息 |  | 抽凝汽机 |  | 背压汽机 |  | 锅炉
domain |  | SteamPipelineOP |  | ExtCondensTurbineOP |  | BackPresTurbineOP |  | CFBoilerOP
geo | 实例1 | ydgm_e1¦steampipeline_p1 |  | ydgm_e1¦hpp_f1¦turbine_w1¦eturb_m1 |  | ydgm_e1¦hpp_f1¦turbine_w1¦bturb_m1 |  | ydgm_e1¦hpp_f1¦boiler_w1¦boiler_m1
| 实例2 |  |  | ydgm_e1¦hpp_f1¦turbine_w1¦eturb_m2 |  |  |  | ydgm_e1¦hpp_f1¦boiler_w1¦boiler_m2
| 实例3 | [6 empty] | ydgm_e1¦hpp_f1¦boiler_w1¦boiler_m3
metric |  | electricity_power_ext | 外购电功率-实际 | steam_flow_in | 高压蒸汽进汽-实际 | steam_flow_in | 高压蒸汽进汽-实际 | outlet_steam_flow | 锅炉产汽-实际
|  | electricity_price_ext | 外购电电价-实际 | steam_flow_side | 低压蒸汽抽汽-实际 | electricity_generation | 自发电-实际 | hp_steam_boiler_opt_array | 锅炉产汽-建议
|  | total_cost_actual | 外购能源总成本-实际 | electricity_generation | 自发电-实际 | hp_steam_machine_opt_array | 高压蒸汽进汽-优化
|  | total_cost_optim_array | 外购能源总成本-优化 | hp_steam_machine_opt_array | 高压蒸汽进汽-优化 | electricity_machine_opt_array | 自发电-优化
|  | lp_steam_actual | 低压蒸汽需求量-实际 | lp_steam_machine_opt_array | 低压蒸汽抽汽-优化 | steam_pressure_in | 高压蒸汽进汽压力-实际
|  | electricity_power_actual | 电力需求量-实际 | electricity_machine_opt_array | 自发电-优化 | steam_temperature_in | 高压蒸汽进汽温度-实际
|  | lp_steam_pred_avg | 低压蒸汽需求量-预测 | steam_pressure_in | 高压蒸汽进汽压力-实际 | steam_pressure_out | 低压蒸汽抽汽压力-实际
|  | electricity_power_pred_avg | 电力需求量-预测 | steam_temperature_in | 高压蒸汽进汽温度-实际 | steam_temperature_out | 低压蒸汽抽汽温度-实际
|  | electricity_power_ext_opt | 外购电功率-建议 | steam_pressure_out | 真空压力-实际
|  | optim_status | 优化算法收敛性 | steam_temperature_out | 真空温度-实际
|  | lp_steam_pressure | 低压蒸汽管网压力 | steam_pressure_side | 低压蒸汽抽汽压力-实际
|  | hp_steam_pressure | 高压蒸汽管网压力 | steam_temperature_side | 低压蒸汽抽汽温度-实际
|  | coal_consumption_hour | 锅炉煤耗